### intercollegiate auditing

### “A guiding instrument for and by the workforce”

The Dutch “Centrale Sterilisatie Club”

Working group “intercollegiate auditing”

Peter Boer

Jan Kooistra

Theo Konijn

Jaap Veldhuis

# Introduction

The board of the Dutch Centrale sterilisatie club (C.S.C) has, due to the number of regional activities on intercollegiate auditing, formed a working group to implement this on national level.

There obvious was a need to share the knowledge. As it all started regionally we propose to follow this path and let the different regions carry out the auditing.

As the Government decreases its involvement on C.S.S.D.’s there is a lack of control and a growing need for C.S.S.D.’s to keep the knowledge on a professional level.

Even though there are several different quality systems to help us keep our standards on an acceptable level, we are searching for a system to collect the nationally gathered knowledge to increase the general level on our departments in the Netherlands.

We think we found a system that can compare our standard with those of our colleagues. In addition, through this method, we try to develop our future standards.

It is our goal to present a way to seriously control and adjust our own work methods and to show the retrieving Government we can take our own responsibility, and present the results of our quality efforts.

It has to be clear that this article is not a finished and definite version, but evolves within the developments of the C.S.S.D.

## Objective

Using the expertise available within the field of C.S.S.D.’s  and present the national level of quality to our members.

### “A guiding instrument for and by the workforce”

This title shortly shows the essence of the instrument intercollegiate auditing.

Using the potential within our own workforce to equalise and increase the still varying level of the different departments.

The generated data must always be available to the workforce so we can learn from it !!!!!!!!!

The initiative must not be seen as a threat, but as a way to help each other. It has to be clear that this is no substitute for governmental inspections or otherwise.

We aim to reach a system of auditing, carried out by the different regions, under supervision of our C.S.C.

We hope you all join and make this system work.

The references used:

-European sterilisation guidelines

-Dutch guidelines

-G.M.P.

-Relevant legislation

-Generally excepted quality standards

The method

A nationwide concept in which members of the CSC will execute the audits. We strive for a hundred percent participation. During the process of auditing, we shall soon be able to see if this is a realistic objective.

We propose to divide the nation into districts so we can limit the travelling time and expenses.

The statistic data can be used by the CSC to adjust its policy for the coming years. All the data for publication or other purposes only will by available in an anonymous form. So the privacy, of the participating departments, is always guaranteed.

The questionnaire must stay unaltered and used throughout the entire cycle. The initial audits will be carried out by three departments. Those first three members will form the auditing commission. One of them will be chosen as secretary and he or she will report to the central CSC commission.

After the first three audits one of the member’s leaves and the last audited person becomes the new member. Throughout the rest of the cycle the longest participating member leaves and the last audited will take its place.

Regulations

- The auditing will be executed in one cycle with all participating CSSD’s

- In advance the questionnaire will be send to the audited departments

- The questionnaire mostly contains questions witch can be answered by yes or no

- The initial cycle will starts with three departments and they will form the auditing commission. One of them must be chosen as secretary and will report to the central CSC auditing commission

- After the initial three audits, the forth-audited person joins the auditing team and one of the sitting member leaves. Throughout the rest of the cycle the longest sitting member leaves and the last audited person joins

- After the initial three audits the auditing will be carried out by two colleagues

- The auditing commission regularly informs the CSC about the progress made

- The point of departure during the auditing is that; every given answer must be supported by relevant documentation

- The criteria used are based on national legislation en Dutch and European guidelines

- All remarks made in the first cycle will be assimilated into the next round

Note:

The authorised person mentioned is an employee responsible for the policy and control of sterile goods handling within the hospital. Hospitals are obligated by Dutch legislation to appoint such an employee.

Questionnaire

| A | General | Yes | NO | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Is there an organization chart |  |  |  |
|  | Is there a written job-specification of: |  |  |  |
| 2 | Authorized person on sterile medical devices |  |  |  |
| 3 | Head of CSSD |  |  |  |
| 4 | His or her replacement |  |  |  |
| 5 | Team leader |  |  |  |
| 6 | Sterilization employee |  |  |  |
| 7 | Employee sterile warehouse |  |  |  |
| 8 | Transport employees |  |  |  |
| 9 | Administrative employees |  |  |  |
| 10 | Others……………………………………………. |  |  |  |
|  | Are the following responsibilities documented: |  |  |  |
| 11 | Complains handling |  |  |  |
| 12 | Recall sterile supplies |  |  |  |
| 13 | Changes to the sterilization process |  |  |  |
| 14 | Release sterile goods |  |  |  |
|  | Are there procedures for: |  |  |  |
| 15 | Complains |  |  |  |
| 16 | Recalls |  |  |  |
| 17 | Release sterile goods |  |  |  |
| 18 | Is there an education plan |  |  |  |
| 19 | Is it required that the employees are qualified/certified |  |  |  |
| 20 | Are there performance interviews held |  |  |  |
| 21 | Is there a regular consultation with the employees |  |  |  |
| 22 | Is there a quality manual |  |  |  |

Questionnaire

| B | Routing and construction | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Are the different rooms like disinfection, packaging and dressing room strictly separated |  |  |  |
| 2 | Are there person locks between the rooms |  |  |  |
| 3 | Are there over-step-hurdles in the dressing room |  |  |  |
| 4 | Is there a fixed route for acceptation, storage and distribution of sterile goods |  |  |  |
| 5 | Is there a separated textile packaging room |  |  |  |
| 6 | Is there a recreation and instruction room |  |  |  |
| 7 | Is there a lock for different goods |  |  |  |
| 8 | Is there a pressure difference between the rooms and enough ventilation |  |  |  |
| 9 | Is the disinfection room separated by a lock |  |  |  |

Questionnaire

| C | Production | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Are there year figures available |  |  |  |
| 2 | Are all product witch are to be sterilized documented |  |  |  |
| 3 | Is there a procedure for new materials |  |  |  |
| 4 | Is there a procedure for hired or loaned instruments |  |  |  |
| 5 | Are disposables being reused |  |  |  |
| 6 | If yes, is this documented |  |  |  |
| 7 | If yes, is there a manufacturers approval |  |  |  |
| 8 | Is there sterilization being carried out for third parties |  |  |  |
| 9 | If yes is this documented |  |  |  |
| 10 | Is there sterilization done by others |  |  |  |
| 11 | If yes, is this documented |  |  |  |

Questionnaire

| D | Sterilization | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Is there log(book) for each sterilizer |  |  |  |
| 2 | Is there an initial validation report |  |  |  |
| 3 | Is there an yearly re-validation being conducted |  |  |  |
| 4 | Do the sterilizing processes comply with the guidelines |  |  |  |
| 5 | Does the sterilizing equipment comply with EN 285 |  |  |  |
| 6 | Is the Bowie Dick test being carried out every day |  |  |  |
| 7 | Is there a vacuum leakage test carried out minimal once a week |  |  |  |
| 8 | Is there regular maintenance on the sterilizers |  |  |  |
| 9 | If yes, is this documented |  |  |  |
| 10 | Is there a formal release every process |  |  |  |
| 11 | Is this release being checked by the authorized person |  |  |  |
| 12 | Are all sterilized products registered every cycle |  |  |  |
| 13 | Is the sterilized load inspected after each cycle |  |  |  |
| 14 | Are all products labelled with expiration date and lot number |  |  |  |
| 15 | Are there operating manuals available for the machinery |  |  |  |
| 16 | Are there loading instructions on writing |  |  |  |

Questionnaire

| E | Cleaning | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Does every washer-disinfector have a log(book) |  |  |  |
| 2 | Is there a log(book) for every washer-disinfector |  |  |  |
| 3 | Is there a yearly re-validation being carried out |  |  |  |
| 4 | Do all the processes comply with relevant guidelines |  |  |  |
| 5 | Does the technical performance comply with relevant guidelines |  |  |  |
| 6 | Is there regular maintenance on every washer-disinfector being carried out |  |  |  |
| 7 | If yes, is this documented |  |  |  |
| 8 | Is there ultra-sonic cleaning equipment available |  |  |  |
| 9 | Is there compressed air spraying equipment available |  |  |  |
| 10 | Is there a de-mineralised water gun available |  |  |  |
| 11 | Are there enough personal protection devices available |  |  |  |
|  | Such as: |  |  |  |
|  | Gloves in different sizes |  |  |  |
|  | Hearing protector |  |  |  |
|  | Watertight over-coating |  |  |  |
|  | Safety spectacles |  |  |  |
|  | Splash screen |  |  |  |
|  | Safety eye shower |  |  |  |
| 12 | Is there an workplace where one can sit during the manual cleaning |  |  |  |
| 13 | Are there operating manuals for the cleaning equipment |  |  |  |
| 14 | Are there loading instructions |  |  |  |

Questionnaire

| F | Control and packaging | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
|  | Cleaning |  |  |  |
| 1 | Is the cleaning and disinfection process being checked |  |  |  |
| 2 | Are the loads dry after each process |  |  |  |
| 3 | Are the instruments clean after each process |  |  |  |
|  | Control and packaging |  |  |  |
| 4 | Are the instruments being opened en spread out for control and functionality checks |  |  |  |
| 5 | Are the different sets put together with the help of an document describing the contents |  |  |  |
| 6 | Are all the sets described |  |  |  |
| 7 | Is there a registration of the set composer |  |  |  |
| 8 | Is packaging done according to the packaging guidelines |  |  |  |
| 9 | Is there indicator tape used |  |  |  |
| 10 | Are the seals of the pouches checked daily |  |  |  |
| 11 | Are there log(books) of the sealing equipment |  |  |  |
| 12 | Does the sealers comply with relevant guidelines |  |  |  |

Questionnaire

| G | Transport and storage | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Is the transport of sterile and contaminated goods strictly separated |  |  |  |
| 2 | Are these transports being carried out with a closed cart |  |  |  |
| 3 | Is there an acceptance registration for the sterile goods received for storage or distribution |  |  |  |
| 4 | Is the transport material cleaned en disinfected regularly |  |  |  |
| 5 | Are the transport carts separated especially for sterile and contaminated transport |  |  |  |
| 6 | If not, are they cleaned en disinfected after each transport |  |  |  |
| 7 | Are all delivered goods being registered |  |  |  |
| 8 | Is there a sterile storage room |  |  |  |
| 9 | Is everything stored clear of the floor |  |  |  |
| 10 | Are the storage shelves easy to clean |  |  |  |
| 11 | Is the cleaning of the shelves documented in frequency and cleaning method |  |  |  |
| 12 | Is the “First In First Out” principal being used |  |  |  |
| 13 | Is there a climate and pressure control in the sterile storage room |  |  |  |
| 14 | Are sterile and non sterile products being stored separately |  |  |  |

Questionnaire

| H | Working conditions | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Is there an policy document on working conditions |  |  |  |
| 2 | Is there an safety document of all used chemicals |  |  |  |
| 3 | Is there an accident registration and protocol |  |  |  |
| 4 | Are the working tables adjustable in height |  |  |  |
| 5 | Can it be prevented to lift above shoulder-height and below knee-height |  |  |  |
| 6 | Can it be prevented to turn more than 90 degrees while executing the different activities |  |  |  |
| 7 | Is there daylight available in the working- and recreation room |  |  |  |
| 8 | Are the floors not slippery even under wet conditions |  |  |  |

Questionnaire

| I | Management | Yes | No | Not relevant |
| --- | --- | --- | --- | --- |
| 1 | Who is the highest responsible person on the CSSD Head CSSD Head OR 1e assistant Other............................... |  |  |  |
| 2 | Who is responsible for the budget Head CSSD Other............................... |  |  |  |
| 3 | Is the instrument-budget included |  |  |  |
| 4 | Is there structural consultation between the head of the CSSD and his manager |  |  |  |
| 5 | Is there structural consultation between the head of the CSSD and the authorized person for sterile medical supplies |  |  |  |
| 6 | What is the title of the next higher manager Cluster manager Head OR Other. ......................................... |  |  |  |
| 7 | Is there enough opportunity to visit meetings, symposia ect. to keep up the knowledge |  |  |  |
| 8 | How many times is something visited in a year 1 x 2 x 3 x 4 x 5 x 6 x 7 x 8 x more ..... x |  |  |  |